## Slide 1: Uncertainty-aware performance assessment of optical imaging modalities with invertible neural networks
Tim J. Adler1,2,
Leonardo Ayala1, Lynton Ardizzone3, Hannes G. Kenngott4, Anant Vemuri1,
Sebastian J. Wirkert1, Beat P. Müller-Stich4, Carsten Rother3, Ullrich Köthe3, and
Lena Maier-Hein1
¹Division of Computer Assisted Medical Interventions, German Cancer Research Center (DKFZ ) Heidelberg, Germany
2Faculty of Mathematics and Computer Science, Heidelberg University, Germany
3Visual Learning Lab, Heidelberg University, Germany
4Division of Minimally-invasive Surgery of the Department of General Surgery, Heidelberg University, Germany
2019/10/17
Out of Distribution Detection for Intra-operative Functional Imaging

## Slide 2: Which organs are perfused?
No blood flow
Blood flow
Blood flow
No blood flow
Blood flow
Wirkert,…, Maier-Hein: “Physiological parameter estimation from multispectral images unleashed”, MICCAI 2017
Wirkert,…, Maier-Hein: “Robust near real-time estimation of physiological parameters…”, Int J Cars (IPCAI 2016) 2016
Wirkert,…, Maier-Hein: “Endoscopic Sheffield Index for unsupervised in vivo spectral band selection.”, MICCAI CARE workshop, 2014

## Slide 3: Multispectral imaging
Human eye/
RGB camera
Multispectral
camera

## Slide 4: Multispectral imaging
Wirkert,…, Maier-Hein: “Physiological parameter estimation from multispectral images unleashed”, MICCAI 2017
Wirkert,…, Maier-Hein: “Robust near real-time estimation of physiological parameters…”, Int J Cars (IPCAI 2016) 2016
Wirkert,…, Maier-Hein: “Endoscopic Sheffield Index for unsupervised in vivo spectral band selection.”, MICCAI CARE workshop, 2014

## Slide 5
Training
Limitations of point estimates in inverse problems
x
s02= 63%
s02 = ?
Neural Network
Application
y
s02= 87%
63%
87%
p(x|y)
Oxygenation
Adler et al.: “Uncertainty-aware performance assessment of optical cameras with Invertible Neural Networks”, IPCAI 2019

## Slide 6: Invertible Neural Networks to recover a posterior probability distribution
Adler et al.: “Uncertainty-aware performance assessment of optical cameras with Invertible Neural Networks”, IPCAI 2019

## Slide 7: Any open problems?
?
Training data
Test data
No performance guarantees on outliers

## Slide 8
Multi stage workflow:
Out of distribution detection
Key requirement: Unsupervised

## Slide 9: Ensemble approach to OoD
Linear classifiers
Variance in class prediction

## Slide 10
Widely Applicabe Information Criterion
(WAIC)
Model for exact log-likelihood
Watanabe, et al.: "Algebraic geometry and statistical learning theory". Cambride University Press, 2009
Choi, et al.: "Waic, But Why? Generative Ensembles for Robust Anomaly Detection", arXiv, 2018
Aggregation over trained parameters 𝛩

## Slide 11: WAIC example

## Slide 12: Invertible Neural Nets & WAIC
Spectra
Latent space
Jacobi determinant efficiently computable
Change of variable formula accessible:
Training distribution
Normal distribution
Normal distribution
Change of
variable

## Slide 13: Experiments
Icon made by Freepik from www.flaticon.com

## Slide 14: In silico validation
Simulation framework for organ spectra

## Slide 15
Domain gap: simulation & real data
Simulation framework for organ spectra
Includes: Hb, HbO2, H2O,...
Not includes: Bilirubin (Bile)
Train on simulated spectra
Evaluation on porcine organ spectra

## Slide 16: Scene change detection with WAIC
Thank you for your attention!

## Slide 17: Implementation details
Training set: 500.000 spectra
Test set: 50.000 spectra
In silico validation: training split 49% / 51%
Ensemble size: 5
Epochs: 120
Learning rate: 1.0e-3
Optimizer: Adam
Layers: 10 affine coupling blocks
  3 layer fc subnets

## Slide 18: Coupling layers
With permission from Lynton Ardizzone

## Slide 19: Porcine organ data

## Slide 20: Comparison to cVAE
INN
x
y
z
physiological
parameters
spectrum
latent
space
INN-1
x
physiological
parameters
INN
x
y
z
physiological
parameters
spectrum
latent
space
Enc
x
y
z
physiological
parameters
spectrum
latent
space
Dec
x
physiological
parameters
One net as decoder & encoder
  Guaranteed invertibility
  Synergy effects during training
No dimension reduction
  Model size
Efficiently computable Jacobian
  Change of variable formula
  Exact log-probabilities
  In principle Maximum-Likelihood training
After convergence: Similar capabilities

## Slide 21: Filter response functions

## Slide 22: Monte Carlo simulation
~20,000 simulated spectra (split in train, validation & test)
Wavelengths 450 - 720nm (2nm steps)
3 layer tissue model
  Variable thickness
  0% ≤ sO2 ≤ 100%
  0% ≤ vHb ≤ 10%
Monte Carlo simulation with 106 photons

## Slide 23
Invertible Neural Network (INN) architecture
Ardizzone,…, Maier-Hein,…: “Analyzing Inverse Problems with Invertible Neural Networks”, ICLR 2019
Design inherently invertible network:
  Evaluation/Training bidirectional
  No dimension reduction
2 types of losses
  L2 for regression
  Maximum Mean Discrepancy for distributions
Jacobi determinant efficiently computable
  Change of variable formula
  Maximum-Likelihood training
coupling layer
permutation layer

## Slide 24
INN
conditional INN
cINN trainable with maximum likelihood training only
No more zero padding
ML learning + cVAE = conditional INNs

## Slide 25
Posteriors
wide
narrow
bimodal

## Slide 26
Application: Camera selection for multispectral imaging
Ardizzone,…, Maier-Hein,…: “Analyzing Inverse Problems with Invertible Neural Networks”, ICLR 2019

## Slide 27
Challenges
Curse of dimensionality
  No dimensionality reduction possible
4 loss terms
  each with hyperparameter(s)
Calibration of posterior

## Slide 28
Opportunities & Outlook
Zero padding / losses
  New architecture: conditional INN
Ambiguity of inverse problem vs. data ambiguity
  Ensembles of INNs as outlier detectors
Thank you very much for your attention
For a complementary view
join the 'Europe got talents' session

## Slide 29
exp
NN
x
x1
x2
NN
*
+
x1
x2
x

## Slide 30
5 slides
Focus:
More INNs pitchen
Not so much 'camera comparison'
Challenges
  Size / dimensions
  Number of loss terms
  OoD
Opportunities
  evtl robotics (broadly applicable)
Ending:
OoD pitchen
3 questions outlook for long talk
  architectural details (+ cINNs)
  Applications: OoD detection
Auf ERC talk verweisen
ERC Logo Anfang und Ende
Alle Autoren am Anfang
Fragen:
Abgrenzung andere Methoden

## Slide 31
Recap
Training data
Camera adaption
INN architecture
  Coupling blocks
  Permutation layers
  Invertibility
  Comparison to other architectures
INN training
  Loss terms
Results
Challenges
  Many losses
  Curse of dimension / zero padding
Opportunities
  cINN
  WAIC